# Deployment Readiness Guide

Mapped is an AI-powered independent data layer for commercial and industrial spaces, helping property owners, facility operators, and solution providers rapidly access real-time data from building systems, sensors, devices, and vendor APIs.

The following document outlines the various bits of information required to ensure a successful implementation of Mapped, whether it’s a single building, a portfolio of buildings, all cloud connector based or requiring an edge gateway.

Each section covers a portion of the information required – each row also has a “Responder” field. This field will need the name of the individual that provided the answer, so we know who to check with should further questions arise during the deployment.

To avoid complications and added effort during the deployment, we typically need answers to the full list of questions, but some are more critical than others. Required questions will be labeled “Req” whereas questions with less impact will be marked “Opt. We recommend having, at minimum, the following roles involved in the review to cover the widest possible set of questions:

#### Customer Participants in Document

| #### Name | #### Role |
| --- | --- |
|  | #### Project Sponsor |
|  | #### Facilities Management |
|  | #### Security |
|  | #### IT / Networking |

#### It is entirely feasible the above roles and responsibilities are covered by a single individual or team, depending on the size of the building and the complexity of the systems. We'll be set as long as someone knowledgeable enough to address the questions related to these areas is available.

#### Mapped Organization Users

#### If applicable, please provide a list of users that should be added to your Mapped Org (to view the building and the data we retrieve) and which users should be admins (able to add/remove users and user related information like API tokens):

| #### Name | #### Email | #### Admin? |
| --- | --- | --- |

#### Business Needs

| #### Question | #### Req / Opt | #### Answer | #### Responder |
| --- | --- | --- | --- |
| Will an edge gateway be needed (to retrieve data from BACNet, Modbus, etc)? | #### Req |  |  |
| Will cloud connectors be required (i.e Butlr, Energy Star, Kastle, View, etc) | #### Req |  |  |
| How many buildings are in scope? | #### Req |  |  |
| What constitutes success? Example: access control connectors deployed across portfolio of 3 buildings | #### Req |  |  |
| Are there any specific deadlines or time frames required? | #### Req |  |  |

#### BMS (Building Management System) Access

#### Skip this section if no BMS is implemented.

| #### Question | #### Req / Opt | #### Answer | #### Responder |
| --- | --- | --- | --- |
| Which Building Management System(s) are implemented? | #### Req |  |  |
| Do we have someone available that has full access to the BMS in use? | #### Opt |  |  |
| Is it possible for someone on the Mapped side to be provided with a read-only user to the BMS, to directly review? | #### Opt |  |  |
| Can an export of devices and / or points from a BMS be provided? | #### Opt |  |  |

#### Cloud Connectors

#### Skip this section if no cloud connectors are required / expected.

| #### Question | #### Req / Opt | #### Answer | #### Responder |
| --- | --- | --- | --- |
| What connectors are must have / required? | #### Req |  |  |
| What connectors are nice to have? | #### Opt |  |  |
| If more than one building is in scope, which building utilizes which connector? | #### Opt |  |  |
| Is API access to the connector vendor already available (some vendors require API activation), and are any credentials needed to connect to the vendor API also available? | #### Req |  |  |
| If a connector is needed and has not yet been developed by Mapped, is a test environment, documentation and credentials available to aid in the development? | #### Req |  |  |
| What usecases are in mind the required connectors – what kind of data is desired, what kind of analytics or applications will make use of the data? | #### Opt |  |  |
| If the connector provides multiple types of data (like occupancy sensing as well as air quality), which specific types are needed? | #### Opt |  |  |

#### Gateway Deployment

The following sections cover the in-depth questions needed to quickly and efficiently deploy a gateway. Whether it’s the on-prem hardware option or virtualized software gateway, we will need to know and understand your network structure. OT (Operational Technology) networks are often segmented from the IT network, and typically have different security and topology that needs shared in advance.

Skip this section if no gateways will be needed.

#### Documentation & Files

There are several files needed to successfully deploy a gateway - if the entire set of files are unavailable, even a partial set is helpful. Each file type supports a different part of the deployment – network diagram enables us to better configure the gateway to locate devices, floorplans allow us to render a building in our console and helps with space mapping, mechanical and as-built drawings help with device and point labeling accuracy.

| #### File Name | #### Available? | #### Responder |
| --- | --- | --- |
| #### Network Diagram |  |  |
| Floorplans |  |  |
| Mechanical Drawings |  |  |
| As-Built Drawings |  |  |

#### Gateway to Mapped Cloud

| #### Question |  | #### Answer | #### Responder |
| --- | --- | --- | --- |
| Will you use DHCP (dynamic or reserved) for the gateway’s WAN/cloud facing port or will you need a static IP assigned to the gateway? If a static IP needs to be assigned, please provide it here, along with subnet, DNS and gateway servers. If a specific NTP server is needed, please provide that as well. | #### Req |  |  |
| Is outbound port 443 open on your network? | #### Req |  |  |
| Does your firewall have destination IP / hostname restrictions, and if so, are you able to allow our destination hostnames (FQDN ACLs)? | #### Req |  |  |
| Do you make use of a proxy, such as socks5 or http-connect? If so, please provide the following details: - Proxy type: (socks4, socks5, http-connect, or http-relay) - IP: - Port: - Login (if required): - Password (if required): | #### Req |  |  |

#### Gateway to On-Prem Devices

| Question |  | Answer | Responder |
| --- | --- | --- | --- |
| Do you plan to deploy a physical (Mapped provided) gateway or make use of a virtualized gateway (VMWare, Hyper-V, Nutanix) or (Kubernetes, Docker, Neeve Secure Edge)? If a software option, which deployment platform is in use? | Req |  |  |
| Do you have a separate BMS / OT network, or are the devices accessible through your IT network? | Req |  |  |
| If there is a separate BMS / OT network, does it have access to the Internet, or is it isolated? | Req |  |  |
| The previous two questions determine if we need to configure one port or two ports |  |  |  |
| Will you use DHCP (dynamic or reserved) for the gateway’s LAN/devices facing port or will you need a static IP assigned to the gateway? If a static IP needs defined, please provide it here. | Req |  |  |
| Please provide the IP and subnet ranges for all applicable network (IT and OT / BMS). | Req |  |  |
| Please also provide all Egress IP addresses from the network where the gateway is deployed – i.e. any IP addresses we may see sending traffic to our network. | Opt |  |  |
| Are all devices and controllers visible to a single network, either directly or through VLAN trunking at the switch? If not, multiple gateways may be required. | Req |  |  |
| Do you use custom ports for any on-prem control network protocols? For example, BACnet on a port other than 47808, C-Bus (CNI) on a port other than 10001, KNX on a port other than 3671, etc. | Req |  |  |
| Do you have any port filtering or port authentication in place, such as 802.1X? | Req |  |  |
| Are you using any protocols besides BACnet, like oBIX with Niagara, OPC-UA, KNX or others? | Req |  |  |
| If using BACnet protocol, do you make use of BACnet/IP Broadcast Management Devices (BBMDs)? If so, please provide the BBMD IP(s) here. | Req |  |  |
| If using OPC-UA, please provide the endpoint, credentials, and the BMS system or server (including version) exposing the provided OPC-UA endpoint. | Opt |  |  |
| If using a hardware gateway, will the gateway be housed in close proximity to the network switches/routers? | Opt |  |  |
| By default, our gateway will scan for all accessible data – in some buildings, this could be hundreds of thousands of points. Do you have a subset of data you want us to focus on, like specific Controllers or specific devices, like certain AHUs? If so, please provide as much detail about those devices as possible, especially IP and port information, so we can reduce our scans to the desired data. | Req |  |  |

#### Misc Building Details

| Question |  | Answer | Responder |
| --- | --- | --- | --- |
| Please provide the address(es) of the building(s) in scope. | Req |  |  |
| How many floors are there in the building(s)? If files like floorplans were provided, skip this question. | Opt |  |  |
| Do you consider the ground floor the first floor (standard in Europe and most British influenced countries) or is the first floor the next level up from the ground floor (standard in the U.S.) | Req |  |  |